## Slide 1
Cu Conductors PVC insulation Bedding GI Armouring
Serving
Colour codes and Insulation levels in a Power Cable
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities
RME Lab – 2
Electrical Components
FY – DESH – VIT

## Slide 2
Piano Switch Single Phase Socket Single Phase Pin
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 3
What about a Pin ?
Earth
(Top)
Neutral
(Right)
Phase
(Left)
Standard conventions for Phase, Neutral and Earth in a socket
Earth
(Top)
Neutral
(Left)
Phase
(Right)
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 4
Colour Code in Power Cables
Phase 1 - Red
------------------------
Phase 2 - Yellow
------------------------
Phase 3 - Blue
------------------------
Neutral - Black
------------------------
Earth or Ground –
Green / Green + Yellow
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 5
Colour codes and Insulation levels in a Power Cable
Cu Conductors PVC insulation Bedding GI Armouring
Serving
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 6
How many phases are in this Cable ?
NO !
This is a Single Phase , 3 Core Cable
Red – Green – Black
Phase – Earth – Neutral
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities
3 ?

## Slide 7
Where the 3 wires would be connected to ?
Green – Red – Black
?
?
?
1
2 3
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 8
The Length and Diameter of Earth Pin is larger than the other two !
Why there is a slot at the tip of the pin ?
Observe this image carefully
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 9
Control Cables and Power Cables
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 10
Electric Cable contd…...
3 Core Cable
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities
4 Core Cable
3.5 Core Cable
Cross Section of an Electric Cable

## Slide 11
Lugs are used connect two cables.
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 12
Lugs
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 13
Hole type Lug
Different types of Lugs
‘U’ type Fork Lug
Pin type Lug
Terminal Lug
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 14
Use of Lugs for connection of Cable
Material – Copper or Aluminum
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 15
Lug Crimping Tools
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 16
EARTHING
ISI - 732 (1963)
The meaning of Earthing or Grounding means to connect the electrical equipment to the general mass of Earth by a wire of negligible resistance.
Purpose of Earthing is to ensure at all times an immediate discharge of electrical energy without danger.
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 17
Phase
Neutral
Poor or Bad
Earthing
Switch Fuse
Current
passes through
the human
body
Poor Earthing as R earth >> R body
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 18
Phase
Neutral
Good Earthing as R earth << R body
Switch Fuse
Current passes
through the
Earth wire and
NOT through the human
body
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 19
Charger
Battery
Inverter
LOAD
SUPPL
Y
Charger
Battery
Inverter
LOAD
SUPPL
Y
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 20
Piano Switch
Slide Switch
Toggle Switch
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 21
Symbol SPDT Switch
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 22
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 23
Emergency Switch
Push Button
Roller type Switch
Hinge Lever type Switch
Plunger type Switch
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 24
Kit Kat Fuse
(Rewirable Fuse)
Glass Fuse
Micro Blade type fuse
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 25
HRC (High Rupturing Capacity) Fuses
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 26
E.L.C.B.
MCB –
Miniature
Circuit
Breaker
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 27
Rheostat Rating –
100 Ohm, 5 A
Fixed Contacts
Variable Contact
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities
Fixed Contact 1
Fixed Contact 2
Variable Contact

## Slide 28: Actuators
DC Motor
AC Motor
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 29: Actuators contd..
Servo Motor
Stepper Motor
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 30: Actuators contd…
3 Phase AC Motor
BLDC Motor
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 31
Dual Channel Motor Driver Circuit
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 32
3 Phase AC Motor VFD
(Variable Frequency Drive)
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities

## Slide 33
Cu Conductors PVC insulation Bedding GI Armouring
Serving
Colour codes and Insulation levels in a Power Cable
Vishwakarma Institute of Technology
FY - Department of Engineering, Sciences and Humanities
RME Lab – 2
Electrical Components
Thanks !
FY – DESH – VIT